## BREAKER RELAY ETC
| BREAKER STOCK | [7 empty] | CONTACTOR STOCKS | [5 empty] | RELAY (OVERLOAD) STOCKS
| SR NO | NAME | AMPERE | STOCK | ISSUE | TOTAL REMANING STOCK |  |  | SR NO | NAME | AMPERE | STOCK | ISSUE | TOTAL REMANING STOCK | SR NO | NAME | AMPERE | STOCK | ISSUE | TOTAL REMANING STOCK
| 1 | FUSE HOLDER | 32A | 9 | 0 | 9 |  |  | 1 | COIL 220V | 65A | 1 | 0 | 1 | 1 | ELECTRONIC RELAY [ LIFT] | 5to60A | 3 | 0 | 3
| 2 | SINGLE POLE | 10A | 6 | 2 | 4 |  |  | 2 | SCHNIDER[LC1D12]COIL 24VDC] | 25A | 1 | 0 | 1 | 2 | ELECTRONIC RELAY | 0.5 TO 6.5 | 3 | 0 | 3
| 3 | SINGLE POLE | 6A | 9 | 0 | 9 |  |  | 3 | COIL 220V SIEMENS | 80A | 2 | 0 | 2 | 3 | THERMAL OVER LOAD | 0.8 TO 1.2 | 1 | 0 | 1
| 4 | SINGLE POLE | 20A | 10 | 5 | 5 |  |  | 4 | COIL 220V (LS) | 100A | 2 | 0 | 2 | 4 | SIEMENTHERMAL RELAY | 9 TO 12.5 | 1 | 0 | 1
| 5 | 2POLE | 20A | 9 | 1 | 8 |  |  | 5 | FUJI COIL 220V (OPEN PACKING] | 32A | 4 | 0 | 4 | 5 | THERAL RELAY | 2.9 TO 4 | 2 | 0 | 2
| 6 | 2POLE | 10A | 12 | 1 | 11 |  |  | 6 | COIL 220V (MISTSUBISHI) | 22A | 3 | 0 | 3 | 6 | OVER UNDER VOLTAGE CURRENT PROTECTION RELAY | 63A | 3 | 0 | 3
| 7 | 2POLE | 63A | 4 | 1 | 3 |  |  | 7 | COIL 220V SEHNEIDER | 32A | 1 | 0 | 1 | 7 | PHASE CONTROL RELAY | RT 101 A | 1 | 0 | 1
| 8 | 2POLE | 32A | 3 | 0 | 3 |  |  | 8 | COIL 220V(TECO) | 35A | 4 | 2 | 2 | 8 | OVER UNDER [ONLY VOLTAGE] RELAY | / | 1 | 0 | 1
| 9 | 3POLE | 3A | 10 | 0 | 10 |  |  | 9 | COIL 110V(SIEMENS) | 100A | 3 | 0 | 3 | PHASE MONATRING RELAY
| 10 | 3POLE | 63A | 3 | 1 | 2 |  |  | 10 | SEHNEIDER (LCID09M7)COIL 220V | 25A | 3 | 1 | 2 | 1 | SEHNEIDER RM4TR32 | / | 5 | 4 | 1
| 11 | 3POLE | 16A | 2 | 1 | 1 |  |  | 11 | COIL 220V (TECO) | 60A | 2 | 1 | 1 | 2 | SIEMEN PHASE FALUIRE RELAY3VG3 | / | 1 | 0 | 1
| 12 | 3POLE | 32A | 4 | 3 | 1 |  |  | 12 | SCHNIDER[LC1E1210]COIL 24VAC] | 25A | 1 | 0 | 1 | 3 | CROUZET PHASE FALUIRE RELAY EW5 | / | 1 | 0 | 1
| 13 | 3POLE | 6A | 7 | 6 | 1 |  |  | 13 | SCHNEIDER [LC1D95] COIL 220V | 125A | 1 | 0 | 1 | 4 | FINDER PHASE FALUIRE RELAY | / | 1 | 0 | 1
[9 empty] | 14 | CHNT [NXC38]COIL220 | 50A | 2 | 0 | 2
| 14 | 3POLE | 10A | 2 | 1 | 1 |  |  | 15 | TOGAMI HSERIES[PAK-80H]COIL220V | 80A | 2 |  | 2
| 15 | 4POLE | 63A | 2 | 0 | 2 |  |  | PINS RELAY | [5 empty] | APPROXMITLY SWITCH
| 16 | EARTH LEAKAGE BREAKER 2 POLE | 20A | 1 | 0 | 1
| 17 | EARTH LEAKAGE BREAKER 2 POLE | 32A | 1 | 0 | 1
| 18 | EARTH LEAKAGE BREAKER 2 POLE | 63A | 1 | 0 | 1 |  |  | SR NO | COIL VOLTAGE | PINS | STOCK | ISSUE | REMANING | SR NO | TYPE | NO/ NC | STOCK | ISSUE | REMANING
| 19 | DC BREAKER | 125A | 3 | 0 | 3 |  |  | 1 | COIL 220V AC | 8PIN | 6 | 0 | 6 | 1 | NPN | NO | 8 | 1 | 7
| 20 | 4POLE WITH NEUTRAL | 100A | 4 | 0 | 4 |  |  | 2 | COIL 12V D.C | 14PIN | 2 | 0 | 2 | 2 | PNP | NO | 6 | 0 | 6
| 21 | 3POLE (OPEN) | 63A | 1 | 0 | 1 |  |  | 3 | COIL 24 V DC | 14PIN | 3 | 0 | 3 | 3 | FOTEK [PS-05N]NPN | / | 5 | 1 | 4
| 22 | MCCB BREAKER 3 POLE | 75A | 1 | 0 | 1 |  |  | 4 | COIL220V AC | 14 PIN | 1 | 0 | 1 | 4 | NPN | NC | 5 | 0 | 5
| 23 | MCCB BREAKER 3 POLE | 30A | 1 | 0 | 1 |  |  | 5 | RELAY BASE | 14 PIN | 6 | 0 | 6 | 5 | PNP | NC | 3 | 0 | 3
| 24 | MCCB BREAKER 3 POLE | 60A | 1 | 0 | 1 |  |  | 6 | RELAY BASE | 8PIN | 16 | 0 | 16 | 6 | PNP ROKO | NO | 4 | 0 | 4
| 25 | MCCB BREAKER 3 POLE | 50A | 1 | 0 | 1 |  |  | 7 | RELAY COIL 220V AC | 8 PIN | 3 | 0 | 3 | 7 | INDICATIVE SENSOR (ELCO) | / | 4 | 0 | 4
[9 empty] | 8 | COIL 24V DC | 8 PIN | 4 | 0 | 4 | 8 | PR 18-BC40DPR (072114) | / | 4 | 0 | 4
[9 empty] | 9 | RELAY COIL 24 AC | 8 PIN | 6 | 0 | 6 | 9 |  |  |  |  | 0
| PANEL FAN | [7 empty] | 10 | RELAY 24 V DC | 8 PIN | 6 | 0 | 6 | THEMBLE
[9 empty] | 11 | RELAY COIL 12V DC | 8 PIN | 5 | 0 | 5 | SR NO | TYPES | SIZE | STOCK | ISSUE | REMANING
[9 empty] | 12 | RELAY COIL 220V AC | 8 PIN | 6 | 6 | 0 | 1 | GENRAL | 35MM | 31 | 3 | 28
| SR NO | VOLT | WATT | SIZE | STOCK | ISSUE | REMANING STOCK |  | 13 |  |  |  |  | 0 | 2 | GENRAL | 50MM | 4 | 0 | 4
| 1 | 220 | 19W | 4 INCH | 3 | 3 | 0 | [7 empty] | 3 | GENRAL | 70MM | 7 | 0 | 7
| 2 | 220 | 38W | 6 INCH | 10 | 4 | 6 |  | POWER FACTOR FUSE | [5 empty] | 4 | GENRAL | 95MM | 15 | 0 | 15
| 3 | 220 | 65W | 8 INCH | 1 | 1 | 0 | [7 empty] | 5 | GENRAL | 120MM | 7 | 0 | 7
| CAPACITOR | [13 empty] | 6 | GENRAL | 150MM | 16 | 0 | 16
| SR NO | NAME | VOLTAGE | µf | stock | issue | remaning |  | SR NO | FUSE AMPER |  | STOCK | ISSUE | REMANING | 7 | GENRAL | 185MM | 12 | 0 | 12
| 1 | CAPACITOR | 400AC | 10 | 4 | 4 | 0 |  | 1 | FUSE 125 AMP |  | 12 | 8 | 4 | 8 | GENRAL | 240MM | 3 | 0 | 3
| 2 | CAPACITOR | 400VAC | 20 | 2 | 0 | 2 |  | 2 | FUSE 63 AMP |  | 15 | 3 | 12 | 9 | GENRAL | 5MM | 24 | 0 | 24
| 3 | CAPACITOR | 200-275 | 200-250 | 2 | 0 | 2 |  | 3 | FUSE 35 AMP |  | 7 | 0 | 7 | 10 | GENRAL | 10MM | 46 | 13 | 33
| 4 | CAPACITOR | 200-275 | 80-100 | 1 |  | 1 |  | 4 | FUSE 40 AMP |  | 6 |  | 6 | 11 | PIPE THEMBLE |  | 3 |  | 3
| 5 | CAPACITOR | 400AC | 1 | 1 |  | 1 |  | 5 | FUSE 32 AMP |  | 1 |  | 1 | 12 |  |  |  |  | 0
| 6 | CAPACITOR | 400AC | 7.5 | 3 | 1 | 2 |  | 6 |  |  |  |  | 0 | 13 |  |  |  |  | 0
| 7 | CAPACITOR | 400AC | 3.5 | 3 | 1 | 2 |  | 7 |  |  |  |  | 0 | 14 |  |  |  |  | 0
| 8 | CAPACITOR | 450AC | 25 | 1 |  | 1 |  | 8 |  |  |  |  | 0 | 15 |  |  |  |  | 0
| 9 | CAPACITOR | 400AC | 80 | 1 |  | 1 | [7 empty] | 16 |  |  |  |  | 0
| 10 | CAPACITOR | 370V | 40 | 1 |  | 1 | [7 empty] | 17 |  | /
| POWER SUPPLY | [13 empty] | 18
INK PUMP
| SR NO | NAME | INPUT VOL AC | OUTPUT VOLT DC | AMP | STOCK | ISSUE | REMANING | [6 empty] | SR NO | MODEL | STOCK | ISSUE | REMANING
| 1 | MEANWELL | 220V | 48V | 5A | 1 | 0 | 1 | [6 empty] | 1 | QSM CJ 602 | 8 | 0 | 8
| 2 | WEIDMULLUR | 100-240 | 24V | 2A | 2 |  | 2 | [6 empty] | 2 | BML-2000 EX 15. | 8 | 0 | 8
| 3 | WEIDMULLUR | 100-240 | 12V | 6A | 1 |  | 1 | [6 empty] | 3 | DIAPHARAM SET WITH NOZZAL FILTER | 6 | 0 | 6
| 4 | COSEL | 100-240 | 24V | 25A | 1 |  | 1
| 5 | OMRON | 100-240 | 24V | 6.5A | 1 |  | 1
| 6 | MEAN WELL | 100-240 | 24V | 6.5A | 1 |  | 1
| 7 | SAKON | 100-275 | 48V | 24V NOT OK | 1 | 1 | 0
| 8 | NEW POWER SUPPLY SITTING | 220 | 24V | 14.6A | 2 | 1 | 1
| 9 | POWER SUPPLY | 220 | 12V | 20A | 1 | 0 | 1
SSR
| SR NO | NAME | INPUT PUT VOLT | OUT PUT VOLT | STOCK | ISSUE | REMAINGS
| 1 | SSR | 3-32VD.C | 24-380VAC | 11 | 7 | 4
| 2 | [5 empty] | 0
| 3 | [5 empty] | 0

## SHANXI BARREN
SHANXIBARREN MACHINE PARTS
SR NO | MACHINE NAME | PARTS NAME | NO |  | STOCK | ISSUE | REMANING
1 | SHANXI BARREN | LIGHT COVER |  |  | 7 | 0 | 7
2 | SHANXI BARREN | MLS 8 WATT LED |  |  | 14 | 0 | 14
3 | SHANXI BARREN | BEARINNG IN PLASTIC PACKING | 6206 |  | 103 | 16 | 87
4 | SHANXI BARREN | REGULATOR AR 20001 |  |  | 11 | 0 | 11
5 | SHANXI BARREN | SOLENOID VALUE COIL 220V |  |  | 10 | 0 | 10
6 | SHANXI BARREN | SOLENOID VALUE COIL 24 V DC |  |  | 2 | 1 | 1
7 | SHANXI BARREN | (ABB) MANUAL MOTOR STARTER | 1.6-2.5 RANGE | MS 2X-2.5 | 6 | 0 | 6
8 | SHANXI BARREN | ABB CONTACTOR COIL 220V | 20A |  | 8 | 0 | 8
9 | SHANXI BARREN | 14 PIN RELAY BASE |  |  | 10 | 0 | 10
10 | SHANXI BARREN | 14 PIN RELAY COIL | 24V DC |  | 10 | 0 | 10
11 | SHANXI BARREN | SEHNEIDER 8 PIN RELAY COIL 24V DC |  |  | 10 | 0 | 10
12 | SHANXI BARREN | 8 PIN RELAY BASE |  |  | 10 | 0 | 10
13 | SHANXI BARREN | 14PIN RELAY WITH BASE OPEN |  |  | 2 | 0 | 2
14 | SHANXI BARREN | 14PIN RELAY WITH BASE 24V COIL |  |  | 3 | 0 | 3
15 | SHANXI BARREN | 2POLE BREAKER | 10A |  | 2 | 0 | 2
16 | SHANXI BARREN | SHENIDER MANUAL MOTOR STARTER | 6-10A |  | 1 | 0 | 1
17 | SHANXI BARREN | SCHNEIDER CONTACTOR COIL 220V | 25A |  | 1 | 0 | 1
18 | SHANXI BARREN | SEIMEN CONTROL BALL VALUE 2 PORT | MLB 461-32-25A1 |  | 7 | 0 | 7
19 | SHANXI BARREN | SPRING BASE FOOT |  |  | 8 | 0 | 8
20 | SHANXI BARREN | OIL SEAL (100-125-12) |  |  | 12 | 0 | 12
21 | SHANXI BARREN | STAINLESS STEEL ROD |  |  | 2 | 0 | 2
22 | SHANXI BARREN | EPC FITTING (1 BOX ) |  |  | 1 | 0 | 1
23 | SHANXI BARREN | RINGS NSK 6206CM (241205000228) |  |  | 12 | 0 | 12
24 | SHANXI BARREN | MANUAL MOTOR STARTER | 2.5-4A |  | 5 | 0 | 5
SHENZEBARREN (SWITCH IN CARTON )
26 | SHANXI BARREN | P.T 100 THERMO COUPLE |  |  | 1 | 0 | 1
27 | SHANXI BARREN | AUXILARY SWITCH WITH LIGHT (NO )(SEHNIDAR ) |  |  | 2 | 0 | 2
28 | SHANXI BARREN | EMERGENCY PUSH (RED COLOR ) |  |  | 2 | 0 | 2
29 | SHANXI BARREN | GREEN LIGHT | 220V |  | 10 | 0 | 10
30 | SHANXI BARREN | GREEN COLOR PUSH BUTTON |  |  | 10 | 0 | 10
31 | SHANXI BARREN | SCHNIDER AUXILARY (NO) WITHOUT PUSH |  |  | 12 | 0 | 12
32 | SHANXI BARREN | ONLY AUXILARY (NO) |  |  | 4 | 0 | 4
33 | SHANXI BARREN | ROTATORY SWITCH IN OPEN |  |  | 2 | 0 | 2
34 | SHANXI BARREN | SCHNIEDER XUILARY SWITCH WIH LIGHT (NO) |  |  | 1 | 0 | 1
35 | SHANXI BARREN | AUXILARY WITHOUT PUSH BUTTON (NO) |  |  | 2 | 0 | 2
36 | SHANXI BARREN | AUXILARY WITHOUT PUSH BUTTON (NC) |  |  | 1 | 0 | 1
37 | SHANXI BARREN | AUXILARY (NO) |  |  | 15 | 0 | 15
38 | SHANXI BARREN | AUXILARY (NC) |  |  | 2 | 0 | 2
39 | SHANXI BARREN | ROTATORY SWITCH |  |  | 5 | 0 | 5
40 | SHANXI BARREN | PUSH BUTTON (GREEN ) |  |  | 1 | 0 | 1
41 | SHANXI BARREN | 3/4 VALUE |  |  | 4 | 0 | 4
42 | SHANXI BARREN | 3/8 VALUE |  |  | 4 | 0 | 4
43 | SHANXI BARREN | GLAND IN OPEN BAG |  |  |  |  | 0
44 | SHANXI BARREN | S.S PUMP FITTING |  |  | 1 | 0 | 1
TIMING BELT
46 | SHANXI BARREN | HTD 1470-14M |  |  | 1 | 0 | 1
47 | SHANXI BARREN | HTD 960-8M |  |  | 2 | 0 | 2
48 | SHANXI BARREN | HTD 896-8M |  |  | 1 | 0 | 1
49 | SHANXI BARREN | HTD 760-8M |  |  | 1 | 0 | 1
50 | SHANXI BARREN | HTD 1080-8M |  |  | 1 | 0 | 1
51 | SHANXI BARREN | HTD 1568-14M |  |  | 1 | 0 | 1
52 | SHANXI BARREN | HTD 1304-8M |  |  | 1 | 0 | 1
53 | SHANXI BARREN | HTD 1064-8M |  |  | 1 | 0 | 1
IN RACK SCHNIDER AUXILARY SWITCH (BUTTON )
55 | SHANXI BARREN | COMPLETE BUTTON WITH LIGHT NORMALY OPEN WITH LIGHT | ZB2BWB31C |  | 6 | 0 | 6
56 | SHANXI BARREN | SCHNEIDER AUXILARY NORMALLY CLOSE | ZB2-B2101C |  | 7 | 0 | 7
57 | SHANXI BARREN | SCHNEIDER AUXILARY NORMALLY CLOSE | ZB2-BZ102C |  | 2 | 0 | 2
58 | SHANXI BARREN | SCHNIEDER EMERGENCY PUSH GREEN COLOUR | ZBZ-BW33C |  | 6 | 0 | 6
59 | SHANXI BARREN | SEHNEIDER ROTATORY SWITCH ONLY | ZBZ-BD2C |  | 7 | 0 | 7
60 | SHANXI BARREN | SCHNEIDER (GREEN LIGHT ONLY ) | XB2-BVB3LC |  | 3 | 0 | 3
61 | SHANXI BARREN | SCHNEIDER LIGHT | XBZ-BVM3LC |  | 2 | 0 | 2
62 | SHANXI BARREN | BREAKER SINGLE POL | 10A |  | 1 | 0 | 1
63 | SHANXI BARREN | 8 PIN RELAY SCHNEIDER (RXM) BASE | 24VDC |  | 3 | 0 | 3
64 | SHANXI BARREN | HMI TOUCH SCREEN |  |  | 1 | 0 | 1
65 | SHANXI BARREN | DOCTOR BLADE GRAY BOX |  |  | 2 | 2 | 0
66 | SHANXI BARREN | DOCTOR BLADE BLACK BOX |  |  | 15 | 6 | 9
67 | SHANXI BARREN | CONES |  |  | 12 |  | 12
68 | SHANXI BARREN | BOLTS WITH WESSEL |  |  | 12 |  | 12
69 | SHANXI BARREN | SSR 10DA |  |  | 6 |  | 6
70 | SHANXI BARREN | PATILE BUZZER |  |  | 10 | 6 | 4
71 | SHANXI BARREN | HMI TOUCH SCREEN WITH CABLE |  |  | 1 |  | 1
72 | SHANXI BARREN | SIEMEN VALVE ACTUATOR [AC\DC 24V] | GLB 161.9E |  | 9 |  | 9
73 | SHANXI BARREN | SIEMEN CONTROL BALL VALUE [2 PORT] | VA 161.32-16 |  | 9 |  | 9
74 | SHANXI BARREN | [5 empty] | 0
75 | SHANXI BARREN | [5 empty] | 0
76 | SHANXI BARREN | [5 empty] | 0
77 | SHANXI BARREN | [5 empty] | 0

## WORLDLY GRAVOURE
WORLDLY GRAVOURE
SR NO | PART NAME | SPECIFICATION | STOCK | ISSUE | REMINING
1 | FONTAL AIR LINE COMPONENT [AIR REGULTOR] | MODEL R364X-02 | 8 | 0 | 8
2 | FONTAL AIR LINE COMPONENT [AIR REGULTOR] | MODELP130-OZ | 2 | 0 | 2
3 | PRESSURE GUAGES | ITEM 40-P-AP | 8 | 0 | 8
4 | PNEUMATIC HAND VALUE | E368 | 10 | 0 | 10
5 | TEMPERATURE CONTROLLER HONEY WELL SUPPLY 85-265V | TYPE-1030CT-101000-E | 7 | 0 | 7
6 | TEMPERATURE CONTROLLER [MI COMPANY] | MODEL-M16-M WIT\R | 1 | 0 | 1
7 | TEMPERATURE CONTROLLER [AUTONICS] | TK-4M B4RR | 1 | 0 | 1
8 | CONTROLLER SELECTOR SWITCH | PKN[0123] COS 36 *36 | 4 | 0 | 4
9 | TIMER [ANLY] SINGLE RANGE ANALOGUE TIMER | TYPE [AH 3-3] 8PIN[220V] | 2 | 0 | 2
10 | PRESSURE GUAGES SIZE [60MM] | RANGE[0-10KG \PSI | 3 | 0 | 3
11 | LIMIT SWITCH[TZ 7311 TEND] | 10A 250VAC | 2 | 0 | 2
12 | APPROXIMELTLY SENSOR RIKO RN04-N | NPN NO | 1 | 0 | 1
13 | APPROXIMELTLY SENSOR FOTEK PS-05N | NPN [10-30VDC] | 2 | 0 | 2
14 | RELAY IDEC [14 PINS] COIL 220V |  | 2 | 0 | 2
15 | RELAY IDEC [8 PINS] COIL 220V |  | 2 | 0 | 2
16 | FRL FONTAL SA602MD U55-02G |  | 1 | 1 | 0
17 | LIMIT SWITCH[MATSUSHITA] [SMALL] |  | 2 | 0 | 2
18 | DIAPHRAME |  | 1 | 0 | 1
19 | PUSH BUTTON |  |  | 0 | 0
20 | RED |  | 5 | 0 | 5
21 | WHITE |  | 1 | 0 | 1
22 | EMERGENCY |  | 3 | 0 | 3
23 | GREEN |  | 3 | 0 | 3
24 | YELLOW |  | 3 | 0 | 3
25 | BLUE |  | 1 | 0 | 1
26 | AUXILARY [NO] [NC] |  | 4 | 0 | 4
27 | SELECTOR SWITCH |  | 3 | 0 | 3
28 | ONE BOX |  |  | 0 | 0
29 | BLADE HANDLE |  | 22 | 2 | 20
30 | FOR GOAT TIGHTEN WITH BOLTS |  | 16 | 0 | 16
31 | ROUND WHEEL |  | 2 | 0 | 2
32 | ONE BOX |  |  | 0 | 0
33 | GOATS |  | 11 | 0 | 11
34 | PNEUMATIC FITTING |  |  | 0 | 0
35 | 8 RO 2SC-O ADJUSTABLE AIR ELBOW |  | 40 | 0 | 40
36 | 8R-01SC-0 ADJUSTABLE AIR ELBOW |  | 13 | 0 | 13
37 | 8R-03SC-0 ADJUSTABLE AIR ELBOW |  | 1 | 0 | 1
38 | DAVEL PIN |  | 11 | 0 | 11
39 | ONE BAG |  | 4 | 0 | 4
40 | L SHAPE METAL FITTING |  | 6 | 0 | 6
41 | PNEUMATIC FONTAL [ONE WAY SWITCH] |  | 4 | 0 | 4
42 | DOCTOR BLADE 40MM |  | 4 | 1 | 3
43 |  |  |  |  | 0
44 | TECO INVERTER[FOR INK ROLLER] |  | 2 |  | 2
45 |  |  |  |  | 0
46 |  |  |  |  | 0
47 |  |  |  |  | 0
48 |  |  |  |  | 0
49 |  |  |  |  | 0
50 |  |  |  |  | 0
51 |  |  |  |  | 0
52 |  |  |  |  | 0
53 |  |  |  |  | 0
54 |  |  |  |  | 0
55 |  |  |  |  | 0

## SINOMECH
SINOMECH MACHINE PARTS
SR NO | MACHINE NAME | PARTS NAME | SPCIFICATION | STOCK | ISSUE | REMANING
1 | SINOMECH | ROTATRY PARTS |  | 1 | 0 | 1
2 | SINOMECH | GLUE MIXER |  | 1 | 0 | 1
3 | SINOMECH | SOLENOID VALUE DOUBLE[4V32008B] | COIL24VDC | 2 | 0 | 2
4 | SINOMECH | SOLENOID VALUE [4V31008B] | COIL24VDC | 1 | 0 | 1
5 | SINOMECH | SOLENOID VALUE [3V31010NCB] | COIL24VDC | 1 | 0 | 1
6 | SINOMECH | REGULATOR AR2000N |  | 1 | 0 | 1
7 | SINOMECH | REGULATOR AR20001 |  | 1 | 0 | 1
8 | SINOMECH | MANUAL MOTOR STARTER ABB MS2X-2.5 | 1.6TO2.5 | 1 | 0 | 1
9 | SINOMECH | NO OPEN SWITCH 2B2BWB31C | NO | 2 | 0 | 2
10 | SINOMECH | PUSH BUTTON YELLOW GREEN WHITE RED GRAY EMERGENCY | 1 PCS EACH | 1 | 0 | 1
11 | SINOMECH | ROTATRY SWITCH |  | 2 | 0 | 2
12 | SINOMECH | 14 PIN RELAY WITH BASE | COIL24VDC | 2 | 0 | 2
13 | SINOMECH | AUXILURY [NO 2PCS][NC 2PCS] |  | 2 | 0 | 2
14 | SINOMECH | ROTATRY SWITCH[ONLY TOP PCS] |  | 3 | 0 | 3
15 | SINOMECH | EMERGENCY SWITCH[ONLY TOP PCS] |  | 2 | 0 | 2
16 | SINOMECH | PNP NO INB-08M18PO-Y |  | 3 | 0 | 3
17 | SINOMECH | AIR GUN |  | 1 | 0 | 1
18 | SINOMECH | GLUE NOZZEL |  | 229 | 6 | 223
19 | SINOMECH | GLUE FILTER |  | 3 | 0 | 3
20 | SINOMECH | TEFLON DAM |  | 41 | 7 | 34
21 | SINOMECH | ROTATRY UNION |  | 2 | 0 | 2
22 | SINOMECH | ELBOW 1INCN |  | 2 | 0 | 2
23 | SINOMECH | BELTS
24 | SINOMECH | HTD 760 8M |  | 1 | 0 | 1
25 | SINOMECH | HTD 896 8M |  | 1 | 0 | 1
26 | SINOMECH | HTD 1080 8M |  | 1 | 0 | 1
27 | SINOMECH | HTD 944 8M |  | 1 | 0 | 1
28 | SINOMECH | HTD 1064 8M |  | 1 | 0 | 1
29 | SINOMECH | HTD 728 8M |  | 2 | 0 | 2
30 | SINOMECH |  |  |  | 0 | 0
31 | SINOMECH |  |  |  | 0 | 0
32 | SINOMECH |  |  |  | 0 | 0
33 | SINOMECH |  |  |  | 0 | 0
34 | SINOMECH |  |  |  | 0 | 0
35 | SINOMECH |  |  |  | 0 | 0
36 | SINOMECH
SINOMECH 2 MACHINE PARTS NEW
SR NO | MACHINE NAME | PARTS NAME | SPCIFICATION | STOCK | ISSUE | REMANING
1 | SINOMECH | TEFLON DAM |  | 26 | 0 | 26
2 | SINOMECH | GLUE NOZZEL |  | 336 |  | 336
3 | SINOMECH | COUPLING |  | 1 |  | 1
4 | SINOMECH | FILTER FOR THE MIXER |  | 4 |  | 4
5 | SINOMECH | ROTATRY UNION |  | 4 |  | 4
6 | SINOMECH | MIXER HEAD |  | 1 |  | 1
7 | SINOMECH | MIXING GUN |  | 1 |  | 1
8 | SINOMECH | LEVEL SENSOR BAUMER [1816903\S14] | UNAM T221 | 1 |  | 1 | SS
| SINOMECH | GLUE PIPE |  | 2 | 0 | 2
9 | SINOMECH | O RING SMALL SIZE |  | 11 |  | 11
10 | SINOMECH | BELTS
11 | SINOMECH | HTD 760 8M |  | 2 |  | 2
12 | SINOMECH | HTD 824 8M |  | 1 |  | 0
13 | SINOMECH | HTD 944 8M |  | 1 |  | 2
14 | SINOMECH | HTD 960 8M |  | 1 |  | 1
15 | SINOMECH | HTD 1064 8M |  | 1 |  | 1
16 | SINOMECH | HTD 1208 8M |  | 1 |  | 1
17 | SINOMECH |  |  |  |  | 1
18 | SINOMECH |  |  |  |  | 1
19 | SINOMECH |  |  |  |  | 0
20 | SINOMECH |  |  |  |  | 0
21 | SINOMECH |  |  |  |  | 0
22 | SINOMECH |  |  |  |  | 0
0
0
0
0

## BAG MAKING
BAG MAKING PARTS
SR NO |  | PARTS NAME | SPECITION | STOCKS | ISSUE | REMANINGS
1 | BAG MAKING | SSR [10 AMP] |  | 26 | 2 | 24
2 | BAG MAKING | NEW MACHINE[XINGTONG] 3BOX |  | 3 | 0 | 3
3 | BAG MAKING | BOX NO 1 |  |  | 0 | 0
4 | BAG MAKING | THERMO COUPLE |  | 3 | 0 | 3
5 | BAG MAKING | EMERGENCY SWITCH |  | 1 | 0 | 1
6 | BAG MAKING | SSR [40 AMP] |  | 2 | 0 | 2
7 | BAG MAKING | APPROXIMETLY SWITCH [NPN TOKY TC-12N4C |  | 1 | 0 | 1
8 | BAG MAKING | BOX NO 2 |  |  | 0 | 0
9 | BAG MAKING | THERMO COUPLE |  | 3 | 0 | 3
10 | BAG MAKING | EMERGENCY SWITCH |  | 1 | 0 | 1
11 | BAG MAKING | SSR [40 AMP] |  | 1 | 0 | 1
12 | BAG MAKING | APPROXIMETLY SWITCH [PR 12-4DN]AUTONICS |  |  | 0 | 0
13 | BAG MAKING | BOX NO3 |  |  | 0 | 0
14 | BAG MAKING | THERMO COUPLE |  | 3 | 0 | 3
15 | BAG MAKING | EMERGENCY SWITCH |  | 1 | 0 | 1
16 | BAG MAKING | SSR [40 AMP] |  | 1 | 0 | 1
17 | BAG MAKING | APPROXIMETLY SWITCH [PR 12-4DN]AUTONICS |  | 1 | 0 | 1
18 | BAG MAKING | NEW MACHINE[XINGTONG] |  |  | 0 | 0
19 | BAG MAKING | AIR TAC SOLENOID VALUE | COIL 24VDC | 2 | 0 | 2
20 | BAG MAKING | AIR TAC [PUSH PULL VALUE] |  | 3 | 0 | 3
21 | BAG MAKING | PUSH PULL VALUE [ OLD ] |  | 3 | 0 | 3
22 | BAG MAKING | CYCLINDER HSZ [SDA 20 * 25] |  | 2 | 0 | 2
23 | BAG MAKING | CYCLINDER [AQ2A20-20CM] |  | 3 | 0 | 3
24 | BAG MAKING | CYCLINDER HSZ [SDA 50*10] |  | 1 | 0 | 1
25 | BAG MAKING | CYCLINDER [SMALL SIZE] NO SIZE |  | 1 | 0 | 1
26 | BAG MAKING | 8 PIN RELAY WITH BASE | COIL 24VDC | 4 | 0 | 4
27 | BAG MAKING | CAMERA PHOTO ELECTRIC CELL TL-50-W-815 | LEEDS 2PCS | 1 | 0 | 1
28 | BAG MAKING | PUSH BUTTON IN A BAG |  |  | 0 | 0
29 | BAG MAKING | NC +NO |  |  | 0 | 0
30 | BAG MAKING | GREEN COLOURE |  | 1 | 0 | 1
31 | BAG MAKING | YELLOW COLOURE |  | 2 | 0 | 2
32 | BAG MAKING | BLACK COLOURE |  | 2 | 0 | 2
33 | BAG MAKING | EMERGENCY SWITCH |  | 1 | 0 | 1
34 | BAG MAKING | FUSE HOLDER |  | 4 | 0 | 4
|  | BELTS |  |  |  | 0
35 | BAG MAKING | 360 H |  | 3 | 0 | 3
36 | BAG MAKING | 410H |  | 3 | 3 | 0
37 | BAG MAKING | 420H |  | 1 | 0 | 1
38 | BAG MAKING | 430H |  | 2 | 0 | 2
39 | BAG MAKING | 230H FLAT BOTTOM |  | 1 | 0 | 1
40 | BAG MAKING | 570 H FLAT BOTTOM |  | 2 | 0 | 2
41 | BAG MAKING | 540H FLAT BOTTOM |  | 2 | 0 | 2
42 | BAG MAKING | WHITE TEFLON ROUND PIECE[ BIG SIZE ] |  | 10 | 0 | 10
43 | BAG MAKING | BROWN TEFLOIN ROUND PIECE[ SMALL SIZE ] |  | 20 | 0 | 20
44 | BAG MAKING | BLUE TEFLOIN ROUND PIECE[ BIG SIZE ] |  | 4 | 0 | 4
45 | BAG MAKING | BLUE TEFLOIN ROUND PIECE[ SMALL SIZE ] |  | 5 | 0 | 5
46 | BAG MAKING | EPC MOTOR FITTING |  | 1 | 0 | 1
47 | BAG MAKING | VOLUME 10K |  | 3 | 1 | 2
48 | BAG MAKING
49 | BAG MAKING
50 | BAG MAKING
51 | BAG MAKING | GEAR |  |  |  | 0
52 | BAG MAKING | ZHOU TAI FOUR SIDE SEAL[COMPLETE SET] |  | 4 | 1 | 3
53 | BAG MAKING | GEAR 28 TEETH |  | 2 |  | 2
54 | BAG MAKING | GEAR 14 TEETH |  | 2 | 0 | 2
55 | BAG MAKING | GEAR 14 TEETH WITH CARTER PIECES |  | 1 | 0 | 1
56 | BAG MAKING | GEAR 20TEETH [FLAT BOTTOM] |  | 2 | 0 | 2
57 | BAG MAKING | GEAR 26 TEETH [FLAT BOTTOM |  | 1 | 0 | 1
58 | BAG MAKING | PAYON KS-C2 [CONTAST SCANNER] |  | 1 | 0 | 1
59 | BAG MAKING | 42-52-7 OIL SEAL |  | 4 | 0 | 4
60 | BAG MAKING | PHOTO CELL DATA LOGIC TL50-W |  | 1 |  | 1
61 | BAG MAKING | TEMPERATURE CONTROLLER TC-8H[ZHOU TAI] |  | 3 | 1 | 2
62 | BAG MAKING | TEMPERATURE CONTROLLER[ WKY-B02 ] |  | 1 | 0 | 1
63 | BAG MAKING | VOLOUME 5KN SAKAE FCP22E | FLAT BOTTOM | 3 | 0 | 3
64 | BAG MAKING | THERMO COUPLE |  | 23 | 10 | 13
65 | BAG MAKING | VIBRATING MOTOR POWER SUPPLY | FLAT BOTTOM | 1 | 0 | 1
66 | BAG MAKING | LINEAR CONTOLLER 5K | FLAT BOTTOM | 1 | 0 | 1
67 | BAG MAKING | SLIDER ZIPPER CYCLINDER |  |  | 0 | 0
68 | BAG MAKING | MXH20-10Z | FLAT BOTTOM | 1 | 0 | 1
69 | BAG MAKING | MXH10 -10Z | FLAT BOTTOM | 2 | 0 | 2
70 | BAG MAKING |  |  |  | 0 | 0
71 | BAG MAKING | ROD FOR KNIFE CUTTER |  | 4 | 0 | 4
72 | BAG MAKING | LOCAL THERMO COUPLE |  | 19 | 15 | 4
73 | BAG MAKING | XINGTONG BEARING[WG NJ2203EM] |  | 6 | 0 | 6
74 | BAG MAKING | BEARING SCREW SMALL |  | 6 |  | 6
75 | BAG MAKING | BRAENING BOSH DIFFERENT SIZE |  | 12 | 0 | 12
76 | BAG MAKING | BIG SCREW |  | 3 | 0 | 3
77 | BAG MAKING | VOLUME 5K [HUIRENDIANZI] | WDD35D4 | 3 | 1 | 2
78 | BAG MAKING | FISH EYE [PHS- 10] |  | 13 | 1 | 12
79 | BAG MAKING | FISH EYE [PHSL- 10] |  | 5 |  | 5
80 | BAG MAKING | FISH EYE [PHS -10R] |  | 6 | 2 | 4
81 | BAG MAKING | FISH EYE[ PHS-12] |  | 1 | 0 | 1
82 | BAG MAKING | FISH EYE[ PHSL-12] |  | 2 | 0 | 2
83 | BAG MAKING | FISH EYE [PHSL-14] |  | 3 | 0 | 3
84 | BAG MAKING | PNEUMATIC CYCLINDER | CDQ2A50-50 | 2 | 0 | 2
85 | BAG MAKING | REGULATOR [FLAT BOTTOM] | AR2000 | 10 |  | 10
86 | BAG MAKING | SMC REGULATOR [FLAT BOTTOM] | IR2010-028G | 4 | 1 | 3
87 | BAG MAKING | FOTEK SSR[40 DA] |  | 4 | 0 | 4
88 | BAG MAKING | SMC GUAGE [0 TO 0.4 MPA] |  | 2 | 0 | 2
89 | BAG MAKING | SMC PNEUMATIC CYCLINDER[ FLAT BOTTOM] | CG2B50-10DMZ | 2 |  | 2
90 | BAG MAKING | APPROXIMETLY SWITCH [PU BANG] FLAT BOTTOM | IBT12-N04NA-03Y2 | 1 | 0 | 1
91 | BAG MAKING | APPROXIMETLY SWITCH WITH LIGHT |  | 1 | 0 | 1
92 | BAG MAKING | PNEUMATIC CYCLINDER [32 * 200 ] |  | 3 |  | 3
93 | BAG MAKING | SENSOR SICK P\N1219611 S\N 25340097[WITH LEED] | KTS-WN41141142ZZZZ | 2 | 2 | 0
94 | BAG MAKING | ZHOU TAI FOUR SIDE SEAL[OLD PLC WITH OUT PROG] | FPE-C32[AFPG2543H | 1 |  | 1
95 | [5 empty] | 0
96 | [5 empty] | 0
97 | [5 empty] | 0
98 | [5 empty] | 0
99 | [5 empty] | 0
100 | [5 empty] | 0
101 | [5 empty] | 0
102 | [5 empty] | 0
103 | [5 empty] | 0
104 | [5 empty] | 0
105
106
107
108
109
110

## COMEXI LAMINATION
COMEXI LAMINATION OLD
SR NO | PART NAME | SPECIFICTION | STOCK | ISSUE | REMANING
1 | KENTAY SOLENOID DIRECTIONAL OPERTED VALUE COIL 24 VDC | 4WE6L-E\G24-NL [2015J ] | 1 | 0 | 1
2 | KENTAY SOLENOID DIRECTIONAL OPERTED VALUE COIL 24 VDC | MFZ12-37YC[4WE6D-E\G24-NL | 1 | 0 | 1
3 | OMRON E2K-C25MFI CAPACITIVE PROXIMITY SWITCH | PNP [NO ] | 3 | 1 | 2
4 | SIEMENS ET2005 SC-C9VB6015[PROFINET] SIMATIC S7 | GES7151-8AB01-0ABO | 1 | 0 | 1
5 | SOLENOID VALUE SMC VQC2201N-51 |  | 1 | 0 | 1
6 | SOLENOID VALUE SMC VQC2101N-51 |  | 1 | 0 | 1
7 | MIXER FITTING |  | 2 | 0 | 2
8 | PHOENIX CONTACT SPIKE CONTROL VAL-CP-3C-350 | MAX 125 AMP | 1 | 0 | 1
9 | GLUE MIXER END CAP |  | 2 | 0 | 2
10 | ROTARY UNION WITH BEARNING [6006] |  | 2 | 0 | 2
11 | SENSOR FITTING[123594-01] [7376] |  | 2 | 0 | 2
12 | FITTING SPECIAL MATERIAL SIZE BIG |  | 2 | 0 | 2
13 | O RING BIG |  | 2 | 0 | 2
14 | O RING SMALL |  | 2 | 0 | 2
15 | METAL RING |  | 1 | 0 | 1
16 | SCREW HOLE ON TOP WITH PLASTIC WASSEL | WASSEL 4 PCS EXRTA | 1 | 0 | 1
17 | BEARING LOCK INSIDE DIA 23MM |  | 2 | 0 | 2
18 | BEARING LOCK INSIDE DIA 52MM |  | 1 | 0 | 1
19 | SPRING |  | 3 | 0 | 3
20 | O RING BIG SIZE [INNER DIA 82MM ] |  | 2 | 0 | 2
21 | O RING BIG SIZE [INNER DIA 72MM ] |  | 2 | 0 | 2
22 | BEARING LOCK INSIDE DIA 92MM |  | 2 | 0 | 2
23 | SEAL 70-100-10 |  | 2 | 0 | 2
24 | SEAL 45-65-10 |  | 2 | 0 | 2
25 | GLUE MIXER [BASE + CATA] |  | 1 | 0 | 1
26 | DOOR FITTING |  | 4 | 0 | 4
27 | BOLT [BIG 3PCS] [SMALL 2PCS ] |  |  | 0 | 0
28 | FITTING PLATIC OMRON [ Y92E-A34 ] |  | 4 | 0 | 4
29 | KSM JAPAN AN10 LOCK |  | 3 | 0 | 3
30 | LOCK WITH SCREW [53MM ] |  | 1 | 0 | 1
31 | JEAN DOORI SHAPE ROUND |  | 1 | 0 | 1
32 | AIR FITTING 10MM PIPE |  | 1 | 0 | 1
33 | ONE BIG SCREW WITH BEARING [HIWIN S1306D9-2001] |  | 1 | 0 | 1
34 | BELTS |  |  |  | 0
35 | HTD 966- 14M- CXA |  | 2 | 0 | 2
36 | HTD -640-8M- CXA |  | 3 | 0 | 3
37 | 640 SLV 8 |  | 2 | 0 | 2
38 | S 5M 1050 |  | 1 | 0 | 1
39 | GLUE NOZZEL NEW |  | 79 | 8 | 71
40 |  |  |  |  | 0
41
42
43
44
45
46
47
COMEXI LAMINATION NEW MACHINE
SR NO | PART NAME | SPECIFICTION | STOCK | ISSUE | REMANING
1 | SOLENOID VALUE SY5200-5U1[OLD VALUE IN STORE NOW] | [NEW USE ON MACHINE9/1/26 | 1 | 0 | 1
2 | SOLENOID VALUE SY5100-5U1 |  | 1 | 0 | 1
3 | SENSOR GLUE PEPPERL +FUEHS[UCC1000-30GM-1UR2-V15] | PART NO 120335 | 2 | 0 | 2
4 | MACHINE GLUE MIXER METAL PIECES | [WHERE GLUE PIPE CONNECTED | 1 | 0 | 1
5 | CAPACITIVE LEVEI SENSOR[CA18-CA30CAN2SPA] UB 10-40VDC | LV1392109 | 1 | 0 | 1
6 | APPROXIMALTY SENSOR OMRON[PNP ][E2A-M12LNO8-M1-B2 | VOLTS 12 TO 24VDC | 1 | 0 | 1
7 | O RINGS[85.32 &3.53] |  | 2 | 0 | 2
8 | TEFLON PIECES WHITE COLOURE |  | 2 | 0 | 2
9 | ROTARTY UNION S20-1300K-01R COMPLETE KIT G3\4 RH | ROTO FLUX | 1 | 0 | 1
10 | DIAPHRAM SET AIR SIDE GREEN IR-ARO-BRYAN.OH.92973-B | WHITE ARO A93459-4 | 2 | 0 | 2
11 | 0 RINGS SET 0637119-44[ARO] | 4 PLASTIC BALLS | 1 | 0 | 1
12 | PANEL KEY |  | 2 | 0 | 2
13 | JUBILEE CLAMP SIZE[ 90 TO 110MM ] |  | 4 | 0 | 4
14 | GLUE NOZZEL OLD |  | 131 | 22 | 109
15 | TEFLON DAM |  | 13 | 4 | 9
16 | BELTS |  |  | 0 | 0
17 | 1280 -RPP8 147 |  | 3 | 1 | 2
18 | 1120 -RPP8 140 |  | 1 | 0 | 1
19 | BGTU -800-36UK 199K-3 [GATE POLY CHAIN CARBON] |  | 1 | 0 | 1
20 | 640 SLV8 109 |  | 1 | 0 | 1
21 | HTD -640-8M- CXA |  | 1 | 0 | 1
22 |  |  |  | 0 | 0
23 |  |  |  | 0 | 0
24 |  |  |  | 0
25

## METALIZER
METLIZER
SR NO | PARS NAME | SPECIFICATION | STOCK | ISSUE | REMINING
1 | BOX 1 | VAPORATION BOATS | 17 | 0 | 17
2 | BOX 2 | VAPORATION BOATS | 18 | 0 | 18
3 | BOX 3 | VAPORATION BOATS | 18 | 0 | 18
4 | BOX 4 | VAPORATION BOATS | 18 | 16 | 2
5 | BOX 5 | VAPORATION BOATS | 29 | 11 | 18
6 | BOX 7 | VAPORATION BOATS | 18 | 0 | 18
7 | BOX 8 | VAPORATION BOATS | 16 | 0 | 16
8 | BOX 11 | VAPORATION BOATS | 17 | 0 | 17
9 | BOX12 | VAPORATION BOATS | 18 | 0 | 18
10 | BOX OVEAN | VAPORATION BOATS | 4 | 0 | 4
11 | CVC OIL | ONE CANE | 1 | 0 | 1
12 | GRAPHITE TAPE |  | 25 | 1 | 24
13 | KENT SEAL |  | 780 | 0 | 780
16
17

## SLITTINGS
SLITTING NEW SPEED 600 KESHENG
SR NO | PARTS NAME | SPECIFICTION | STOCK | ISSUE | REMINING
1 | rewinder inverter yaskawa1000 [repaired] |  | 1 | 0 | 1
2 | tubes size 1720mm |  | 24 | 0 | 24
3 | TUBES SIZE 1420MM |  | 72 | 0 | 72
4 | BREAK RESISTANCE 1000W 100RJ |  | 1 | 0 | 1
5 | BOX |  |  | 0 | 0
6 | SMALL ROLLER |  | 2 | 0 | 2
7 | PNEUMATIC CYCLINDER |  | 1 | 0 | 1
8 | RELAY WITH BASE COIL 220VAC |  | 1 | 0 | 1
9 | VOLUME 5K OHM [WDD35D4] |  | 1 | 0 | 1
10 | SMC AIR CONTROLLER REGULATOR | TV1050-312N | 1 | 0 | 1
11 | SENSOR DMS SOLID STATE SENSOR | DMSG-20 | 1 | 0 | 1
12 | BIG CARTON |  |  | 0 | 0
13 | AIR TUBES |  | 6 | 0 | 6
14 | NAMADA |  | 6 | 3 | 3
15 | LASER LIGHT |  | 10 | 0 | 10
16 | DIGITAL PANEL METER [JL5135-BG] | DC 24V | 2 | 0 | 2
17 | SMC AIR REGULATOR IRI020-01 [4B1-97] |  | 2 | 0 | 2
18 | SOLENOID VALUE [SY5120-5G-01] | [SY5A00] | 1 | 0 | 1
19 | PUSH BUTTON[NO WITH LIGHT] | GREEN BLUE YELLOW RED | 8 | 0 | 8
20 | ROTATRY SWITCH [NO] |  | 4 | 0 | 4
21 | EMERGENCY |  | 2 | 0 | 2
22 | KEY BUTTON |  | 2 | 0 | 2
23 | BLADE |  | 1 | 0 | 1
24 | BELTS 8M-864 |  | 4 | 0 | 4
25 | BELTS 5M -390 |  | 2 | 0 | 2
26 | BELT BOTH SIDE TEETH DBM 2304 |  | 1 | 0 | 1
27 |  |  |  | 0
28 | ONE SMALL BOX REWINDER [ WASTE] |  | 1 | 0 | 1
29 | RE COMPANY BREAK SYSTEM |  | 1 | 0 | 1
30 | KESHENG SPACER RING[PLACTIC] |  | 1 | 0 | 1
31 | ROTATRY BLADE IN 2 BOX |  | 10 | 0 | 10
32 | ROTATRY BLADE STANDS IN 3 CARTON |  | 16 | 0 | 16
33 | METAL MOON |  | 2 | 0 | 2
34 | PIPE FITTING BLADE |  | 8 | 0 | 8
35 | SPACER |  | 1 | 0 | 1
36 |  |  |  | 0
37 |  |  |  | 0
38 |  |  |  | 0
39 |  |  |  | 0
40
SLITTING OLD 400 SPEED
SR NO | PARTS NAME | SPECIFICTION | STOCK | ISSUE | REMINING
1 | TUBES |  | 17 | 0 | 17
2 | SWIVEL VALUE |  | 1 | 0 | 1
3 | PRESSURE REGULTOR AIRTEC | GR200-08 | 1 | 0 | 1
4 | SOLENOID VALUE [SY7120-5DZ-02] |  | 1 | 0 | 1
5 | ELECRONIC REGULTOR[SMC] ITV1050-312L | ITV2D08 | 2 | 0 | 2
6 | ONE CABLE [ELECTRONIC] |  |  | 0 | 0
7 | FTH USB SHIELDED HIGH SPEED CABLE 2.0 |  | 1 | 0 | 1
8 | EPC CARD 400M\M |  | 1 | 0 | 1
9 | SCANNER HEAD EPC 400M\M | USE ON MACHINE | 0 | 0 | 0
10 | ENCODER HINTKO HTR-MWB-10A-P | 11312B | 1 | 0 | 1
11 | SLITTING BLADE SHIFT TEFLON PIECES |  | 2 | 1 | 1
12 | BELTS |  |  | 0 | 0
13 |  |  |  | 0 | 0
14 | 1088-8YU |  | 8 | 0 | 8
15 | 976-8YU |  | 3 | 0 | 3
16 | 880-8YU |  | 14 | 8 | 6
17 | S5M 1050 |  | 3 | 0 | 3
18 | REGULATOR [AR 2000-02BG] | AR 2000-02BG | 2 | 0 | 2
19
20 | ENCODER [C50-H-600ZCU410\S553B] |  | 1 | 0 | 1
21

## BELTS
BELTS
SR NO | PARTS NAME | SPECIFICATION | STOCK | ISSUE | REMINING
1 | MITSUBOSHI HTD 2198-14M |  | 1 | 0 | 1
2 | MITSUBOSHI HTD 1360-8M |  | 1 | 0 | 1
3 | MITSUBOSHI HTD 760-8M |  | 1 | 0 | 1
4 | AIMUTE HTD 1064-8M |  | 1 | 0 | 1
5 | AIMUTE HTD 944-8M |  | 1 | 0 | 1
6 | MEGA DYNE 960 RPP8 227 |  | 1 | 0 | 1
7 | MITSUBOSHI HTD 975-5M |  | 1 | 0 | 1
8 | MITSUBOSHI HTD 784-8M |  | 2 | 0 | 2
9 | OPTI BELTS 8* 710 |  | 1 | 0 | 1
10 | COMRESSOR BELTS DYNA SPA 1782 |  | 9 | 3 | 6
11 | SAMPLE BELTS |  |  | 0 | 0
12 | B64 |  | 1 | 0 | 1
13 | K-29 |  | 1 | 0 | 1
14 | A-41 |  | 1 | 0 | 1
15 |  |  |  | 0

## UV REBORN MACHINE
REBORN NEW MACHINE SPECIAL
SR NO | PART NAME | SPECIATION | STOCK | ISSUE | REMINING
1 | SMALL CARTON
2 | UV INK TANK |  | 1 | 0 | 1
3 | SMALL RUBBER O RING |  | 1 | 0 | 1
4 | BIG RUBBER O RING |  | 1 | 0 | 1
5 | VALUE FOR INK |  | 2 | 0 | 2
6 | CLAMP FOR PIPE |  | 1 | 0 | 1
7 | PIPE |  | 2 | 0 | 2
SMALL CARTON
9 | PIPE | 8 *5 | 1 | 0 | 1
10 | PIPE | 5 *3 | 1 | 0 | 1
11 | PIPE CUT PIECE | BLACK COLOUR |  | 0 | 0
12 | PIPE CUT PIECE | WHITE COLOUR |  | 0 | 0
13 | END CAP | ONE PACKET | 1 | 0 | 1
14 | PIPE CLAMP | ONE PACKET | 1 | 0 | 1
CARTON
16 | CLEANING CLOTH |  | 18 |  | 18
CARTON
18 | ROUND WHEEL PIPE EXTENSION |  | 39 |  | 39
19 | HY P\N SCDF -A [BOTTLE] |  | 6 |  | 6
20 | MICRO DIAPHRAM PUMP [600900833] | KN-600N | 1 |  | 1
21 | PIPE WHITE COLOUR |  | 1 |  | 1 | S
CARTON FOR CARDS
23 | CPU CARD GEN5-12H[LJ011211] | 503250700043 | 1 |  | 1
24 | GEN5-12H [LJ311010 ] | 513250500606 | 1 |  | 1
25 | INK BOARD REV4.2 [K2B-00007973] | SN20250620 | 1 |  | 1
26 | TEMPERATURE SETTING CARD | 20241224 | 1 |  | 1
27 | 3M467MP200MP ADHESIVE | STRIP WIRE | 2 |  | 2
28 | NET WORKING CABLE |  | 1 |  | 1
CARTON
30 | power supply input 180-264vac | output 37vdc[40a] | 1 |  | 1
31 | power supply input 230vac | output 24vdc[41.5a] | 1 | 0 | 1
32 | FRL AIR REGULATOR |  | 1 | 0 | 1
33 | HANDLE FITTING |  | 1 |  | 1
34 | power supply input 100-240VAC | output 24vdc[4.5A] | 1 |  | 1
35 | power supply input 100-240VAC | output 24vdc[14.5A] | 1 |  | 1
36 | power supply input 180-264VAC | output 37vdc[54 A] | 1 |  | 1
37 | SOLENOID VALUE | COIL24VDC | 1 |  | 1
38 | PNEUMATIC CYCLINDER | ACQ[50* 10] | 2 |  | 2
39 | PNEUMATIC CYCLINDER | ACQ[25 *10] | 2 |  | 2
40 | push button no\nc green-1pcs red-1pcs |  | 1 |  | 1
41 | rotatary switch |  | 1 |  | 1
42 | 2 side rotatry switch |  | 1 |  | 1
43 | emergency switch |  | 1 |  | 1 |  | S
44 | air regulator |  | 1 |  | 1
45 | leuze contrast sensor[krt-18bm-vt5\l6t-M12] | PART50131242 | 1 |  | 1
46 | SWITCH YJ-GQ22 | 24V RA | 6 |  | 6
47 | OMRON P6BF-4BND | 24VDC | 1 |  | 1
48 | 14 PIN RELAY WITH BASE | COIL24VDC | 1 |  | 1
49 | 8 PIN RELAY | COIL 240VAC | 1 |  | 1
50 | 8 PIN RELAY | COIL24VDC | 1 |  | 1
51 | 3 POLE BREAKER 3POLE | 16 AMP | 1 |  | 1
52 | 4 POLE BREAKER | 100 AMP | 1 |  | 1
53 | SIGNLE POLE BREKER | 16 AMP | 1 |  | 1
54 |  |  |  |  | 0
0

## PNEUMATIC
PNEUMATIC
SR NO | PART NAME | SPECIFICATION | STOCK | ISSUE | REMINING
1 | NEW PRESSURE GUAGES SIZE 100MM | RANGE 0-16BAR | 2 |  | 2
2 | PRESSURE GUAGES [WIKAI] |  | 1 |  | 1
3 | DRAIN VALUE WITH FILTER 1/2 | INPUT 220V | 2 | 1 | 1
4 | AIR SHIFT NOZZEL |  | 5 | 1 | 4
5 | VALUE FOR GAS AND AIR CONTROL | COIL 24DC | 3 |  | 3
6 | ONE SIDE FLOW VALUE | HFS-25 | 2 | 1 | 1
7 | AUTO DRAIN FOR FRL |  | 2 |  | 2
8 | SOLENOID VALUE | COIL 24DC | 6 |  | 6
9 | SOLENOID VALUE SMALL SIZE | COIL 24DC | 2 |  | 2
10 | REGULATOR | HSZ R200 | 6 |  | 6
11 | REGULATOR | ZR200GZ | 8 | 2 | 6
12 | COIL 24VDC |  | 4 |  | 4
13 | REGULATOR OPEN PACKING |  | 1 | 1 | 0
14 | AIR REGULATOR SENSOR [FOR SLITTING] |  | 1 |  | 1
15 | GUAGE [0-16 BAR] |  | 1 |  | 1
16 | COUPLER]8MM FITTING] |  | 6 | 2 | 4
17 | FOR OIL DOSING HSZ | MODEL AL2000-02 | 1 |  | 1
18 | AIR GUN | DG 10 | 1 |  | 1
19 | AIR GUN GRAVOURE |  | 1 |  | 1
20 |  |  |  |  | 0
21 |  |  |  |  | 0
22 |  |  |  |  | 0
23 |  |  |  |  | 0
24 |  |  |  |  | 0
25 |  |  |  |  | 0
26 |  |  |  |  | 0
27 |  |  |  |  | 0
28 |  |  |  |  | 0
29 |  |  |  |  | 0
30 |  |  |  |  | 0

## DIAPPER CUTTING
DIAPER CUTTING
SR NO | PART NAME | SPECEFICATION | STOCK | ISSUE | REMANING
1 | REGULATOR | MA R200-8A-C | 2 | 0 | 2
2 | SOLENOID VALUE | COIL 24VDC | 1 |  | 1
3 | SSR 25DA |  | 8 | 1 | 7
4 | TEMPERATURE CONTROLLER | NBF 3000 | 2 |  | 2
5 | RINGS |  | 22 |  | 22
6 | HEATER | 220VOLT[ 700 WATT] | 9 |  | 9
7 | PNEUMATIC CYCLINDER [FOR DIE] | SIZE[32*25] | 2 |  | 2
8 | PLASTIC GEAR | 30 TEETH | 1 |  | 1
9 | METAL GEAR | 30 TEETH | 1 |  | 1
10 | SMALL TEETH GEAR | WITH BEARNING 6010 | 1 |  | 1
11 | PREPARTION GEAR |  | 1 |  | 1
12 | SICK SENSOR | WL 100-N1432 | 1 |  | 1
13 | SPRING AND BOLT |  | 11 |  | 11
14 | FUSE | 10AMP | 4 |  | 4
15 | AIR NOZZEL |  | 1 |  | 1
16 | RELAY 14 PIN | COIL 24VDC | 1 |  | 1
17 | RELAY 8 PIN | COIL 24VDC | 1 |  | 1
18 | RELAY 8 PIN | COIL 30 VDC \250V AC | 1 |  | 1
19 | BELT 1075H |  | 1 |  | 1
20 | BELT 880-8M |  | 1 |  | 1
21 | BELT 225L |  | 1 |  | 1
22 | DIE PIECE DIFFIRINT SIZE | [10MM][8MM][6MM] | 12 |  | 12
23 | RELAY WITH BASE[FV-B02]SYR | WITH BASE | 1 |  | 1
24
25
26
27
28
29
30
31
32
33
34
35
36
37
38
39
40

## 3 LAYER EXTRUDER
3 LAYER EXTRUDER
SR NO | PART NAME | SPECIFICATION | STOCK | ISSUE | REMINING
1 | PLC[OMRON G9 SP | SAFETY CONTROLLER | 1 | 0 | 1
2 | SIEMEN STARTER SWITCH [SIRUS] | G\150529[E.07] 3RV1011-OCA15] | 1 | 0 | 1
3 | CONTROL CARD [PSG\D-68309 MANNHEIM | HW 300003 SW 001001 | 1 | 0 | 1
4 | CONTROL CARD [PSG\D-68309 MANNHEIM | SSW 120 [A060A] HW 300001 | 1 | 0 | 1
5 | SMALL SCREEN [B & R][WINDER | B3C50170281[4PPO65.0571-KO6 | 1 |  | 1
6 | POSI DRIVE [STOBER] HW233 FDS5022 A\L | V 5.6R S\N 8545763 | 1 |  | 1
7 | POSI DRIVE [STOBER] HW227 FDS5015 A\L | KT.N.R 55415 S\N 8793662 | 1 |  | 1
8 | POSI DRIVE [STOBER] HW231 FDS5008 A\L | KT.NR 55414 S\N 8540337 | 1 |  | 1
9 | POSI DRIVE [STOBER] HW231 FDS5040 A\L | KT.N.R 55417 S\N 8541074 | 1 |  | 1
10 | POSI DRIVE [STOBER] HW233 FDS5075 A\L | KT.NR 55419 S\N8546341 | 1 |  | 1
11 | ENCODER BAUMER [GXU5S.Z01] | 101257326.012 [10-30VDC] 5% RW | 1 |  | 1
12 | ENCODER BAUMER [GBU5S.Z01] | 101353712.007[10-30VDC 5%RW | 1 |  | 1
13 | SIEMEN STARTER SWITCH [SIRUS] | RANGE[1.1 TO1.6A][3RV1011-1AA15] | 1 |  | 1
14 | SIEMEN STARTER SWITCH [SIRUS] | RANGE[22 TO32A][3RV1031-4EA10] | 1 |  | 1
15 | CONTACTOR SIEMEN [COIL 4-30VDC] | 3RF 2410-1AB45 | 1 |  | 1
16 | CONTACTOR SIEMEN COIL 24VDC | 3RT1024-1B | 1 |  | 1
17 | CONTACTOR SIEMEN COIL 24VDC | 3RT 1016-1BB41 [22 AMP] | 3 |  | 3
18 | OMRON SAFETY RELAY UNIT | EXPANSION UNIT [G9SA-EX301] | 1 |  | 1
19 | PEPPERL + FUCHS [PART NO-559539] | 3RG 6343-3AB00-PF | 1 |  | 1
20 | OMRON PROXIMITY SENSOR | E2A-M18LS05-M1-B1 | 1 |  | 1
21 | PEPPERL + FUCHS [PART NO-552501] | 3RG 4013-3AG33-PF | 2 |  | 2
22 | OMRON PROXIMITY SENSOR [WINDER] | PNP[NO] ONE O.K & ONE FAULTY | 1 |  | 1
23 | LIMIT SWITCH PIZZATO FR531-M2 | J15FRI-206389 | 1 |  | 1
24 | GEFRAN F049179[7855W300715] | GRD-12500-60 [165.3MM] | 1 |  | 1
25 | NANOTEC PDZ-T5718D2904-KKIE | FA 649073 [SMALL SERVO] | 1 |  | 1
26 | REIFENHAUSER BLOWN FILM 249012 | ART NR 005026032 | 1 |  | 1
27 | SIEMENS FUSE | 40 AMP ONE PCS & 200 AMP ONE PCS | 1 |  | 1
28 | ACE TUBES TR 43-25 |  | 1 |  | 1
29 | PIL ULTRASONIC SENSOR [ARTIKE 516741] | P49-30-M18-1-CM12-S346 [E349911] | 3 |  | 3
30 | TRANSFORMER [MARTIG NONI ELETTRO TECNICA |  | 1 |  | 1
31 | ELECTRONIC CARD [24 POINT] | GDM2-R2-1 REV2 | 1 |  | 1
32 | ELECTRONIC CARD STOBER CAN5000 | S\N 8646428 SW2.2 HW 12 | 1 |  | 1
33 | SIEMEN LZS RT 78725[BASE] WITH RELAY 8 PINS | SCH RACK AT 314024 | 1 |  | 1
34 | SIEMEN RELAY | 3TX 7004-1LB02 | 2 |  | 2
35 | SIEMEN RELAY | 3RT 1926-1BB00 | 1 |  | 1
36 | SIEMEN RELAY | 3RT 1916-1BB00 | 2 |  | 2
37 | SILICON DRIVE[MEMORY CARD] 512 MB PATA | SSD-CSIM-3576 | 1 |  | 1
38 | OMRON P7SA-10F-ND [BASE] |  | 1 |  | 1
39 | CARLO RAWAZIO | VA 18CLD05PPTR | 1 |  | 1
40 | FESTO 150857 F613 |  | 1 |  | 1
41 | PROCON WALTHEL | [P713806MV] | 2 |  | 2
42 | BELTS 1 NEW BIG SIZE |  | 1 |  | 1
43 | BELT OPTI BELT 5M 25 | WITH OUT JOINT | 1 |  | 1
44 | BELT OPTI BELT SK SPZ710LW |  | 1 |  | 1
45 | MEGA DYNE SPZ-700 |  | 1 |  | 1
46 | SILICON ROUND TUBE |  | 3 |  | 3
47 | SMALL RADITOR |  | 1 |  | 1
48 | PLC MODULE |  |  |  | 0
49 | X20 IF 2772 |  | 1 |  | 1
50 | X20 BC 0083 |  | 1 |  | 1
51 | X20 BB 80 |  | 2 |  | 2
52 | X20 IF 1061-1 |  | 1 |  | 1
53 | X20 BC 0083 & X20 BB 80 |  | 1 |  | 1
54 | X20 BM 11 |  | 3 |  | 3
55 | X20 PS 2100 |  | 2 |  | 2
56 | X20 DO 9322 |  | 3 |  | 3
57 | X20 PS 9400 |  | 2 |  | 2
58 | X20 BM 05 |  | 3 |  | 3
59 | X20 D1 9371 |  | 3 |  | 3
60 | X20 BM 15 |  | 1 |  | 1
61 | X20 BM 01 |  | 4 |  | 4
62 | X20 A0 4622 |  | 2 |  | 2
63 | X20 A1 4622 |  | 1 |  | 1
64 | X20 DC 2395 |  | 1 |  | 1
65 | X20 2F 0000 |  | 1 |  | 1
66 | X20 DO 2395 |  | 1 |  | 1
67 | X20 DS 1319 |  | 1 |  | 1
68 | X20 AT 6402 |  | 2 |  | 2
69 | B & R COMMUNICATION PLC | 0 AC 808 [SUPPLY + 24VD.C | 1 |  | 1
70 | PLC B& R X20 CP 3485-1 | X20 CP 3485-1 | 1 |  | 1
71 | WIRE BASE PLC DDV CPPE-PS | 230V \10A\ 0.08-2.5MM | 2 |  | 2
72 | WIRES |  |  |  | 0
73 | GREEN COLOURE WIRE WITH JACK |  | 1 |  | 1
74 | GRAY WIRE WITH SOLENOID VALUE AND JACK |  | 4 |  | 4
75 | GRAY WIRE 3 CORE |  | 1 |  | 1
76 | MOLEX WIRE | OCD-60005-OH | 1 |  | 1
77 | THERMOCOUPLE |  |  |  | 0
78 | THERMOCOUPLE SPECIAL LOCK |  | 3 |  | 3
79 | THERMOCOUPLE LONG WIRE |  | 7 |  | 7
80 | THERMOCOUPLE IN PACKING |  | 2 |  | 2
81 | HEATER WIRE |  | 1 |  | 1
82 | OLD THERMOCOUPLE |  | 2 |  | 2
83 | HEATER 480 V AND 700 WATT |  | 1 |  | 1
84 | HEATER 3 LAYER |  |  |  | 0
85 | BIG HEATER | HEIGHT=140MM ROUND=1700MM | 1 |  | 1
86 | BIG HEATER | HEIGHT=155MM ROUND=1720MM | 1 |  | 1
87 | SMALL HEATER | HEIGHT=170MM ROUND=960MM | 1 |  | 1
88 | SMALL HEATER | HEIGHT=55MM ROUND=1260MM | 1 |  | 1
89 | ROUND HEATER 1800 WATT 5329459 [400 V] | HEIGHT=560MM ROUND=250MM | 1 |  | 1
90 | HEATER | HEIGHT=35MM ROUND=1960MM | 1 |  | 1
91 | HEATER | HEIGHT=32MM ROUND=900MM | 1 |  | 1
92 | HEATER | HEIGHT=32MM ROUND=960MM | 1 |  | 1
93 | HEATER | HEIGHT=32MM ROUND=760MM | 1 |  | 1
94 | LOCAL HEATER 440V | HEIGHT=40MM ROUND=940MM | 1 |  | 1
95 | HEATER 3 LAYER | HEIGHT=43MM ROUND=820MM | 1 |  | 1
96 | HEATER | HEIGHT=34MM ROUND=820MM | 1 | 1 | 0
97 | HEATER | HEIGHT=30MM ROUND=765MM | 1 |  | 1
98 | HEATER | HEIGHT=28MM ROUND=750MM | 2 |  | 2
99 | HEATER | HEIGHT=54MM ROUND=530MM | 2 |  | 2
100 | HEATER | HEIGHT=130MM ROUND=500MM | 2 |  | 2
101 | HEATER | HEIGHT=265MM ROUND=300MM | 2 |  | 2
102 | HEATER | HEIGHT=37MM ROUND=765MM | 2 |  | 2
103 | DIE LIPS 2.5MM |  | 1 |  | 1
104 | THERMOCOUPLE LOCK METAL |  | 7 |  | 7
105 | LOAD CELL ACECELLS [WL 1022] | S\N20060064 EMAX-20KG | 2 | 2 | 0
106 | LOAD CELL ACECELLS [WL 1041] | S\N1909017 EMAX-50KG | 2 | 1 | 1
107 | LOAD CELL ACECELLS [WL 1241] | S\N20010028 EMAX-100KG | 1 |  | 1
108 | LOAD CELL OLD 50KG | MONO LAYER | 1 |  | 1
109 | CIL JECT SPRAY | GENERAL USE | 5 | 2 | 3
110 |  |  |  |  | 0
111 |  |  |  |  | 0
112 |  |  |  |  | 0
113 |  |  |  |  | 0
114 |  |  |  |  | 0
115 |  |  |  |  | 0
116 |  |  |  |  | 0
117 |  |  |  |  | 0
118 |  |  |  |  | 0
119 |  |  |  |  | 0
120 |  |  |  |  | 0
Note on J92: Admin:

## MONO LAYER EXTRUDER
MONO LAYER EXTRUDER
SR NO | PARTS NAME | SPECIFICATION | STOCK | ISSUE | REMANNINGS
1 | SSR RM400V 50A |  | 7 | 0 | 7
2 | SCHNEIDER RELAY[8 PINS] | RXM 24VDC[WITH BASE] | 2 |  | 2
3 | CONNECTOR [LC 1N0610] | COIL 220V [20AMP] | 2 |  | 2
4 | CONNECTOR [LC 1N3210M5N] | COIL 220V [40AMP] | 1 |  | 1
5 | AIR CYCLINDER SENSOR[AIR TEC] | CMS REED SENSOR[CMSG-020] | 2 |  | 2
6 | DIE THERMOCOUPLE |  | 3 |  | 3
7 | AMPHER INDICATOR METER | RANGE [0-60AMP] | 1 |  | 1
8 | PNEUMATIC CONTROL TAKE UP ROLLER |  | 1 |  | 1
9 | APPROXIMELTLY SENSOR [3 WIRE] | BAR CODE[18976120997030 | 1 |  | 1
10 | APPROXIMELTLY SENSOR BUIACS | SN10-P | 1 |  | 1
11 | APPROXIMELTLY SENSOR OMRON | TL-N10MP1 | 1 |  | 1
12 | TREATER SPACER |  | 2 |  | 2
13 | SELECTOR SWITCH[YELLOW COLOURE] |  | 1 |  | 1
14 | START\ STOP SWITCH | ABB MCB-01 | 1 |  | 1
15 | PUSH BUTTON ONLY[GREEN] | ZB2-BA3C | 2 |  | 2
16 | PUSH BUTTON ONLY[RED] | ZB2-BA4C | 2 |  | 2
17 | SELECTOR SWITCH ONLY | ZB2-BD2C | 2 |  | 2
18 | AUXILARY SWITCH [NC] | ZB2-BZ102C | 2 |  | 2
19 | AUXILARY SWITCH [NO] | ZB2-BZ101C | 4 |  | 4
20 | CORONA CARD FOR TREATER | NTSX CORONA V7.1 | 2 |  | 2
21 | BREAKER 3 POLE 40AMP |  | 1 |  | 1
22 | CORONA CARD FOR TREATER | SMALL CARD | 3 |  | 3
23 | MONO LAYER CRUSER BLADE |  | 1 | 0 | 1
24 |  |  |  |  | 0
25 |  |  |  |  | 0
26 |  |  |  |  | 0
27 |  |  |  |  | 0
28 |  |  |  |  | 0
29 |  |  |  |  | 0
30 |  |  |  |  | 0
31 |  |  |  |  | 0
32 |  |  |  |  | 0
33 |  |  |  |  | 0
34 |  |  |  |  | 0
35 |  |  |  |  | 0
36 |  |  |  |  | 0
37 |  |  |  |  | 0
38 |  |  |  |  | 0
39 |  |  |  |  | 0
40 |  |  |  |  | 0